Valsts sabiedrība ar ierobežotu atbildību „Latvijas Vides, ģeoloģijas un meteoroloģijas centrs”

„Būvniecībā radušos atkritumu pārvadājumu uzskaites valsts informācijas sistēmas izstrāde un ieviešana” piešķirtā finansējuma ietvaros plānotās iegādes - servera vispārējie tehniskie parametri

| Chipset | Intel™ C600 |
| --- | --- |
| Width | 482.4mm |
| Height | 42.8mm |
| Form Factor | Rack 1U |
| RAM Installed | 2x 8GB RDIMM, 1600 MHz, Standard Volt, Dual Rank, x4 |
| RAM Type | Up to 1600MHz DDR3 |
| Raid Controller | PERC H710 Integrated RAID Controller, 512MB NV Cache |
| Raid Levels / Support | 0,1,5,6,10,50,60 |
| Operating System Support | Microsoft® Windows Server® 2008 R2 SP1, x64 (includes Hyper-V™ v2) Microsoft Windows® HPC Server 2008 Microsoft Windows Small Business Server 2011 SUSE® Linux® Enterprise Server Red Hat® Enterprise Linux |
| Power Supply | Dual, Hot-plug, Redundant Power Supply (1+1), 750W; 2M Rack Power Cord C13/C14 12A; |
| Depth | Max 752.1mm |
| Weight | Max 19,8kg |
| Expansion Slots | 3 PCIe slots: Two x16 slots with x16 bandwidth, half-height, half-length One x16 slot with x8 bandwidth, half-height, half-length (ten-drive-bay configuration is available only with 3 PCIe slot option) or 2 PCIe slots: One x16 slot with x16 bandwidth, full-height, 3/4 length One x16 slot with x16 bandwidth (or x8 with one processor only), half-height, half-length |
| CPU support | Intel® Xeon ® processor E5-2600 product family |
| CPU Max support | 2 |
| CPU Installed | 2x Intel Xeon E5-2620 2.00GHz, 15M Cache, 7.2GT/s QPI, Turbo, 6C, 95W |
| Accessories | ReadyRails Sliding Rack Rails without Cable Management Arm |
| Management card | iDRAC7 Enterprise |
| Warranty Terms | 3 Years Basic Warranty - Next Business Day (Poweredge) |
| Software included | R620 Electronic System Documentation and OpenManage DVD Kit |
| Power Supplies Max support | 2 |
| Network | Broadcom 5720 QP 1Gb Network Daughter Card |
| RAM Slots | 24 DIMM slots |
| RAM Support Max | Up to 768GB |
| Backplane | 10x 2.5" Hot Plug |
| Virtualization support | Citrix® XenServer™ VMware vSphere™ |
| Features | Concentrated computing power in a 2S/1U form factor Maximize computing power without compromise in space-sensitive environments with the Dell PowerEdge™ R620. |
| HDD | 2x 300GB, SAS 6Gbps, 2.5-in, 15K RPM Hard Drive (Hot-plug) |
| Video | Integrated Matrox G200, 8 MB shared video memory |

Sastādītājs: Tatjana Grigorjeva
LVĢMC Finanšu un administratīvās
nodaļas vadītāja
t.67032042 
tatjana.grigorjeva@lvgmc.lv